## Variable Frequency Drives
Line | SKU | Product Name | Application | Key Specification | Price (INR) | Price (USD) | Availability
1 | VFD-2K2 | VectorDrive 2.2 kW | Compact vector drive for pumps, fans, mixers and conveyors. | 3-phase 400 V · 2.2 kW · STO · Modbus | 18600 | 219 | In stock
2 | VFD-7K5 | VectorDrive 7.5 kW | Heavy-duty VFD with sensorless vector control and integrated braking unit. | 3-phase 400 V · 7.5 kW · 150% / 60 s | 36800 | 433 | Build to order
3 | PMP-11K | PumpDrive 11 kW | Pump-focused drive with multi-pump sequencing and dry-run protection. | 3-phase 400 V · 11 kW · PID · sleep mode | 49500 | 582 | Build to order

## Servo Systems
Line | SKU | Product Name | Application | Key Specification | Price (INR) | Price (USD) | Availability
1 | SVP-400 | SVP-400 Servo Package | Low-inertia servo package for labeling, pick-and-place and indexing. | 400 W · 3000 rpm · 17-bit encoder | 42800 | 504 | Build to order
2 | SVP-750E | SVP-750E EtherCAT Servo | Networked servo package with cyclic synchronous position mode. | 750 W · EtherCAT · 23-bit encoder · STO | 68900 | 811 | Build to order
3 | SVR-2K0 | SVR-2K0 Regenerative Servo | High-dynamic servo system with shared DC bus and braking recovery. | 2 kW · 300% peak torque · EtherCAT | 114000 | 1341 | Build to order

## Motor Starters
Line | SKU | Product Name | Application | Key Specification | Price (INR) | Price (USD) | Availability
1 | DOL-12A | DOL-12A Motor Starter | Enclosed direct-on-line starter with phase-failure protection. | 4–12 A · 415 VAC · IP55 enclosure | 5800 | 68 | In stock
2 | SST-30A | SST-30A Soft Starter | Three-phase soft starter for smooth acceleration and reduced mechanical stress. | 15 kW / 30 A · current limit · bypass relay | 22800 | 268 | Build to order
3 | MPR-32 | MPR-32 Electronic Motor Relay | Panel relay with adjustable overload, underload and stall detection. | 1–32 A · Modbus RTU · event memory | 9600 | 113 | Build to order