## Remote I/O
Line | SKU | Product Name | Application | Key Specification | Price (INR) | Price (USD) | Availability
1 | RIO-16D | RIO-16D Modbus I/O Block | Mixed digital I/O block for distributed machine signals over RS485. | 8 DI / 8 DO · Modbus RTU · −20 to 70 °C | 9800 | 115 | In stock
2 | RIO-8A | RIO-8A Analog Acquisition Block | Precision input block for process transmitters and voltage signals. | 8 AI · 0/4–20 mA · 16-bit · isolated | 16400 | 193 | Build to order
3 | RIO-EC32 | RIO-EC32 EtherCAT Coupler | Fast remote I/O coupler with tool-free slice module connection. | 100 Mbps · 100 μs update · 32 modules | 28900 | 340 | Build to order

## Process Sensors
Line | SKU | Product Name | Application | Key Specification | Price (INR) | Price (USD) | Availability
1 | PTX-16B | PTX-16B Pressure Transmitter | Stainless-steel pressure transmitter for hydraulic and utility systems. | 0–16 bar · 4–20 mA · G1/4 · IP67 | 6200 | 73 | In stock
2 | LVT-6M | LVT-6M Ultrasonic Level Sensor | Non-contact level transmitter with configurable blanking distance. | 0.3–6 m · 4–20 mA + RS485 · IP67 | 13800 | 162 | Build to order
3 | TTX-PT100 | TTX-PT100 Head Transmitter | DIN-B temperature transmitter with sensor-break diagnostics. | Pt100 / RTD · 4–20 mA · ±0.15 °C | 3900 | 46 | In stock

## Machine Sensors
Line | SKU | Product Name | Application | Key Specification | Price (INR) | Price (USD) | Availability
1 | PRX-M18I | PRX-M18I Inductive Sensor | Flush-mount inductive proximity sensor with visible status indication. | M18 · 8 mm · PNP NO · IP67 | 1450 | 17 | In stock
2 | PHE-R30 | PHE-R30 Retroreflective Sensor | Polarized photoelectric sensor for reliable object detection on conveyors. | 0.1–7 m · PNP/NPN · light/dark select | 2950 | 35 | In stock
3 | VIB-4M | VIB-4M Vibration Monitor | Machine vibration transmitter for motors, pumps and fan assemblies. | 0–25 mm/s RMS · 4–20 mA · M8 stud | 11800 | 139 | Build to order